## Slide 1: Pure Water Demonstration and Artificial Intelligence Update
September 13, 2021
Notes: COVER SLIDE
If you have a very long title, make it upper and lower case instead of all caps.

## Slide 2: Pure Water Demonstration

## Slide 3: Demonstration Project Goals
Goals
Demonstrate Pure Water
Evaluate Full-Scale Design Parameters
Train Operations Staff
Engage Stakeholders

## Slide 4: Pure Water Performance
Microbiological (Pathogens)
12/10/10 Log Reduction
Process | Virus | Protozoa
Microfiltration/ Ultrafiltration | 2.5+ | 4+
Reverse Osmosis | 2+ | 2+
Ultraviolet Light with Advanced Oxidation | 6 | 6
Free Chlorination | 5 | 0
Totals | 15.5+ | 12+

## Slide 5: Pure Water Performance
Chemicals
Parameter | Feed | Purified Water
Total Dissolved Solids (TDS) | ~750 mg/L | ~20 mg/L
Total Organic Carbon (TOC) | 6 to 7 mg/L | 0.06 to 0.08 mg/L
Extensive sampling of CECs, zero exceedances of health levels
¼ Sampling for regulated pollutants, zero exceedances of MCLs

## Slide 6: Pure Water Comparisons
Drinking Water Supplies
Note: a ng/L is a very low concentration and these detections to not represent a public health risk

## Slide 7: Pure Water Comparisons
Drinking Water Supplies
Pure Water DEMO

## Slide 8: Pure Water Comparisons
Drinking Water Supplies
Pure Water DEMO

## Slide 9: Pure Water Comparisons
Drinking Water Supplies
Pure Water DEMO

## Slide 10: Pure Water Comparisons
Drinking Water Supplies
Pure Water DEMO

## Slide 11: Full Scale Design
3 Suppliers Fully Vetted
Future “Flux” of 40 to 50 gfd, much greater than conventional 25 gfd designs
$Ms saved due to higher Flux

## Slide 12: Operator Training
AWTO Required for Potable Reuse
Conventional Ops Certifications Not Enough!

## Slide 13: Engage Stakeholders

## Slide 14: Artificial Intelligence/Machine Learning

## Slide 15: Broad Collaboration for Project Success
Project Participants
Funding Partners

## Slide 16: Wholistic Approach to Energy Use and Water Quality
Biological Secondary Treatment
Primary Treatment
UV Disinfection
Ultrafiltration
Reverse Osmosis
Notes: Potable water reuse, from raw wastewater to purified water is a multi barrier process for chemical and pathogen removal
The entire treatment train is energy and operations intensive, going to advanced treatment more than doubles the energy use and operations staff needs of a conventional WWTP
Within these systems, there are areas to optimize in terms of energy use and operational efforts, all WHILE MAINTAINING WATER QULAITY.

## Slide 17: First Work Completed as Part of MWD FSA Grant

## Slide 18: Subsequent and Extensive Analysis Moving Ahead

## Slide 19: Reducing Energy Use at Tapia!
Nutrients and Performance
Airflow
Power

## Slide 20: AI/ML Predicts 10% Energy Savings
Data Driven Model Optimization (DDMO)
Accurately Predicts Performance
Energy Savings!

## Slide 21: We have the Technology…but how do best communicate it?
Operation & Data upload at real-time
Real time analysis of data
Daily Reporting of Operational and Data Modifications
OPTimization Interface and Control System (OPTICS)
Full-scale OPTICS Trials Now Underway
Notes: OPTICS development, real time transfer of data, AI analysis, recommendations, OPTICS interface…while leaving the key decisions in the hands of operations staff. This is not Autonomous Operation.

## Slide 22: Thank You!